# Highlights

Benign sensor drift and drift-shaped data poisoning are attributed by cause

Each channel is judged against a physics expectation it cannot influence

Verdicts gate every adaptive element: recalibrate, quarantine, or alarm

Simulated shift: worst-case macro-F1 0.71 vs 0.29 for learned baselines

Safety alarm survives poisoning; self-calibrating baselines never fire it